Leakage Control

Level 2

Awarded by The Scottish Qualifications Authority and CABWI Awarding Body

Accredited from 6 December 2001 to 31 December 2006

Group award number: G6P7 22

Standards

This SVQ is based on standards developed by Energy and Utility Skills. Energy and Utility Skills membership is drawn from a wide variety of people working in a broad range of occupations within the electricity, gas, waste management and water industries.

Structure of the SVQ

The way the SVQ is made up is shown below. The unit title appears in bold and the elements that make up each unit are listed under the unit title.

Mandatory units

Candidates must complete all of these units:

D8A6 04

Establish The Integrity Of A Discrete Area On The Distribution Network

1	Isolate a section of the distribution network

2	Provide the integrity of the metered area

3	Re-commission a section of the distribution network

D8A3 04

Determine The Exact Location Of Water Loss (Leak-Noise Correlation Techniques)

1	Trace the route of water pipes and locate surface fittings

2	Identify the location of the leak

D8A2 04

Determine The Exact Location Of Water Loss (Acoustic Listening Techniques)

1	Trace the route of water pipes and locate surface fittings

2	Identify the location of the leak

Optional units

Candidates must also complete 3 of the following units, in addition to the mandatory units:

D8A8 04

Identify and Select Leakage Detection Methods and Techniques In Response To Identified Water Loss

1	Establish the circumstances relating to the area of potential leakage

2	Select appropriate leakage detection methods and techniques

D8AH 04

Programme, Deploy and Collect Data From Data-Logging Equipment

1	Programme the equipment

2	Deploy and recover the equipment

3	Collect data from the equipment

D8AM 04

Utilise and Confirm Performance Of Measuring Equipment On The Distribution Network

1	Confirm the ongoing performance of equipment and take readings

2	Set up and remove temporary flow and pressure measuring equipment

D89X 04

Carry Out Step-Testing Operations In Order To Localise The Area Of Potential Leakage

1	Prepare the site for step-testing activities

2	Carry out step-testing activities

D8AK 04

Resolve Leakage-Related Issues With Customers

1	Inform customers about leakage-related issues

2	Agree a course of action to deal with leakage related issues

There may be publications available to support this SVQ. For more information, please contact:

Customer Contact Centre

The Scottish Qualifications Authority

The Optima Building

58 Robertson Street

GLASGOW

G2 8DQ

Tel: 0845-279-1000

Fax: 0845-213-5000

Email: customer@sqa.org.uk

Website: http://www.sqa.org.uk

Leakage control/2/71101