# National Certificate in Electrical Engineering (G9AF 46)

## Course overview and skills development summary

# Introduction

National Certificates are made up of Units. Each Unit is mapped against an agreed set of national standards to identify the appropriate level and credit value defined by the Scottish Credit and Qualifications Framework (SCQF).

The SCQF level is a measure of how hard the Unit is.

The credit value is a measure of the time, on average, it should take a learner to achieve the Unit. A single-credit Unit works out at an average of 40 hours teaching time and 20 hours self-directed learning. A double credit Unit works out an average of 80 hours teaching time and 40 hours self directed learning. If you’d like more information, it is available at www.scqf.org.uk.

Most National Certificates have mandatory and optional Units:

- Mandatory Units provide the generic knowledge, understanding and skills needed to be successful in your chosen career. Every student has to complete them.

- Optional Units give you an opportunity to choose a particular area of interest that you would like to learn about.

This document provides information about the Units that make up your Course and the skills you will be developing as you work through each Unit. It explains:

- the way you will use Core Skills in your chosen area of work

- how the Course is structured

It also describes the purpose of each Unit in the Course, including:

- the subject-specific skills you will develop in each Unit

- the Core Skills you will develop naturally as you work through each Unit

- any Core Skill or Core Skill component that will be recorded on your certificate

## Core Skills in your chosen area of work

As an electrical engineer working in the electricity supply, oil and gas, and renewable energy industry you will by using Core Skills every day when dealing with clients, suppliers or colleagues.

#### Communication

You will need to understand your employer’s and customers’ requirements. You will usually be given these in various written, oral or graphical formats, and they will come from various sources. You may be required to interpret relatively complex engineering documentation and drawings, and may also have to produce documentation such as block diagrams, circuit layouts or schematic layouts.

#### Numeracy

You will have to produce work to set standards involving the use of accurate measurements to correct tolerances. You will also make numerical calculations associated with these measurements and tolerances. There will be occasions when you will have to read or present numerical information in graphical formats.

#### Information and Communication Technology

Your work as an electrical engineer will involve extracting and using information from general electronic sources as well as, when required, from computer aided design or drawing packages. You will need to be able to understand this information.

#### Problem Solving

On occasions you will need to plan and organise engineering activities, such as installing various wiring systems and enclosures, testing various installations to ensure they operate to all specifications. This planning and organisation can involve managing timescales and budgets as well as evaluating results.

#### Working with Others

Most activities in the engineering industry take place within a team environment. You will need not only to take instruction from others, but also to give instruction to other team members. You will need to review your contribution to the team as well as review the contribution of others.

## Course structure for Electrical Engineering

To achieve this National Certificate you will need to achieve:

- three Unit credits from the mandatory section

- five Unit credits from the restricted section

- four Unit credits from the optional sections

Mandatory Units (three credits):

| Unit title | Unit code | SCQF level | Credit value | Date achieved |
| --- | --- | --- | --- | --- |
| Communication | F3GB 12 | 6 | 1 |  |
| Engineering: Applying Information Technology | F5D4 12 | 6 | 1 |  |
| Mathematics: Technician 1 | F3HX 12 | 6 | 1 |  |

Restricted Units (five from eight credits):

| Unit title | Unit code | SCQF level | Credit value | Date achieved |
| --- | --- | --- | --- | --- |
| Mandatory |  |  |  |  |
| Electrical Principles | F5HL 12 | 6 | 1 |  |
| Electrical Testing and Measurement | F5HN 12 | 6 | 1 |  |
| Fundamental Electrical Systems | F5D8 12 | 6 | 1 |  |
| Any two from five |  |  |  |  |
| Cable Ratings and Overcurrent Protection Devices | F5H3 12 | 6 | 1 |  |
| Earthing and Earth Fault Current Protection | F5HD 12 | 6 | 1 |  |
| Electrical Plant Maintenance | F5HG 12 | 6 | 1 |  |
| Inspection and Testing of Electrical Installations | F5FT 12 | 6 | 1 |  |
| Single and Three Phase Induction Motors | F5JT 12 | 6 | 1 |  |

Optional Units (four credits):

| Unit title | Unit code | SCQF level | Credit value | Date achieved |
| --- | --- | --- | --- | --- |
| Alarm and Communication Systems | F5GY 12 | 6 | 1 |  |
| Applications of Programmable Logic Controllers | F5H0 12 | 6 | 1 |  |
| Cable Ratings and Overcurrent Protection Devices | F5H3 12 | 6 | 1 |  |
| Circuit Element Principles | F5H8 12 | 6 | 1 |  |
| Digitally Integrated Security and Environmental Control Systems | F5HB 12 | 6 | 1 |  |
| Direct Current Machines | F5HC 12 | 6 | 1 |  |
| Earthing and Earth Fault Current Protection | F5HD 12 | 6 | 1 |  |
| Electrical Installations in Hazardous Environments and Special Locations | F5HF 12 | 6 | 1 |  |
| Electrical Plant Maintenance | F5HG 12 | 6 | 1 |  |
| Electrical Power Systems | F5HJ 12 | 6 | 1 |  |
| Electrical Wiring Skills | F5HP 11 | 5 | 1 |  |
| Electronic Network Analysis | F5J7 12 | 6 | 1 |  |
| Electronic Test Equipment and Measurement | F5DJ 12 | 6 | 1 |  |
| Electrostatics and Electromagnetics | F5D3 12 | 6 | 1 |  |
| Engineering Project | F5D5 12 | 6 | 1 |  |
| Fault Finding on Low Voltage Electrical Systems and Equipment | F5DF 12 | 6 | 1 |  |
| Fundamental Electronics | F5DB 12 | 6 | 1 |  |
| Illumination and Emergency Lighting | F5FR 12 | 6 | 1 |  |
| Inspection and Testing of Electrical Installations | F5FT 12 | 6 | 1 |  |
| Installation of AC Induction Motors | F5DA 12 | 6 | 1 |  |
| Installation of Cable Tray and MI Systems | F5FW 12 | 6 | 1 |  |
| Installation of Conduit Systems | F5FY 12 | 6 | 1 |  |
| Installation of PVC Sheathed Wiring Systems | F5HX 12 | 6 | 1 |  |
| Installation of Trunking Systems | F5J0 12 | 6 | 1 |  |
| Low Voltage Distribution Systems | F5J1 12 | 6 | 1 |  |
| Mathematics: Technician 2 | F3HY 12 | 6 | 1 |  |
| Safe Working Practices | F5JL 11 | 5 | 1 |  |
| Single and Three Phase Induction Motors | F5JT 12 | 6 | 1 |  |
| Single Phase and Three Phase Principles Power Electronics | F5JV 12 | 6 | 1 |  |
| Switchgear and High Voltage Protection | F5JX 12 | 6 | 1 |  |
| Transformation and Rectification | F5JY 11 | 5 | 1 |  |
| Transformers | F5K0 12 | 6 | 1 |  |

## Unit summaries

This section provides a brief description of each Unit in the Course. It explains:

- the purpose of each Unit

- the subject-specific skills you will learn for each Unit

- which Core Skills you will be developing as you work through each Unit

- which Core Skill or Core Skill components are recorded in your Core Skills profile on your certificate

The Unit summaries are in alphabetical order so you can find them easily. This might not be the order you do them in.

### Alarm and Communication Systems (F5GY 12) 1 credit

In this Unit you will learn about the design requirements and the circuit conditions necessary to produce alarm and communication systems. You will develop the skills that you will need to draw up circuit and wiring diagrams and install wiring systems for simple intruder or fire alarm and hard-wired local area network (LAN) data communication systems.

You will:

- investigate design requirements

- draw up and interpret circuit and wiring diagrams

- from these diagrams, identify and obtain resources and install alarm and communication systems

- identify and take account of a complex range of factors, including safety regulations

- evaluate, by testing the wiring systems, the safety and reliability of operation

As you are doing this Unit you will be developing aspects of the Core Skills in Communication, Numeracy and Problem Solving.

### Applications of Programmable Logic Controllers (F5H0 12) 1 credit

In this Unit, you will develop skills needed to enable you to create a programme to control a typical industrial process.

You will:

- understand the structure of a programmable logic controller (PLC), its software and application

- produce software solutions to logical problems

- read the outline of control problems and determine software solutions

- use a PC and the link to a PLC and upload/download software to prove that it is valid

- analyse information, formulate/write a software solution, and test and evaluate the programme

As you are doing this Unit you will be developing aspects of the Core Skills in Communication, Problem Solving, Numeracy, and Information and Communication Technology.

### Cable Ratings and Overcurrent Protection Devices (F5H3 12) 
1 credit

In this Unit you will learn about the relationship between the design current of a circuit, the current-carrying capacity of the cable, and the rating of the protective device for a particular set of load conditions. You will develop the skills and techniques needed for calculating cable sizes for given loads, and working conditions in compliance with the requirements of the Wiring Regulations BS7671.

You will:

- extract and interpret information

- perform and present a series of complex calculations and measurements

- produce diagrams and describe systems for given load and installation conditions

As you are doing this Unit you will be developing aspects of the Core Skills in Numeracy and Communication.

### Circuit Element Principles (F5H8 12) 1 credit

In this Unit you will learn about the principles of the basic electrical circuit elements of resistance, self inductance, mutual inductance and capacitance. You will develop your knowledge and understanding of each of the elements in terms of their fundamental concepts and the laws of physics that govern them.

You will need to carry out a number of sustained calculations to determine solutions to problems.

As you are doing this Unit you will be developing aspects of the Core Skill in Numeracy and Problem Solving.

### Communication (F3GB 12) 1 credit

In this Unit you will develop skills in:

- reading

- summarising and evaluating

- writing

- speaking and listening

The ability to communicate effectively with colleagues, suppliers and customers is crucial when working in the electrical industry.

This is a Core Skills Unit. When you achieve this Unit, your Core Skills profile will be updated to show you have achieved Communication at SCQF level 6.

### Digitally Integrated Security and Environmental Control Systems (F5HB 12) 1 credit

In this Unit you will learn about the design requirements of digitally integrated security and environmental control systems and the equipment that is required to install them in domestic premises.

You will:

- describe digital control techniques

- describe control and management of home security and surveillance systems, of HVAC (Heating, Ventilation and Air-Conditioning) systems, and of integrated lighting systems

- extract relevant information and present it

As you are doing this Unit you will be developing aspects of the Core Skill in Communication.

### Direct Current Machines (F5HC 12) 1 credit

In this Unit you will learn about the construction, principles of operation, characteristics and applications of dc generators, dc motors, brushless dc motors and dc motor starting and speed control methods.

You will:

- interpret, calculate, apply and produce data in numerical and graphical formats for dc (direct current) generators and various motor configurations

- explain dc motor starting and speed control methods

As you are doing this Unit you will be developing aspects of the Core Skills in Numeracy and Communication.

### Earthing and Earth Fault Current Protection (F5HD 12) 1 credit

In this Unit you will learn about the different methods of fault protection and to the types of earthing arrangement outlined in BS7671. You will also learn about the Residual Current Devices (RCD) as a means of disconnecting the supply in the event of a fault to earth.

You will:

- describe dangers of earth fault currents and earthing arrangements used, including the use of RCDs (Residual Current Devices)

- select appropriate sizes of earth protective conductors, bonding conductors and a circuit protective device for given installation conditions in accordance with BS7671

As you are doing this Unit you will be developing aspects of the Core Skills in Communication, Numeracy and Problem Solving.

### Electrical Installations in Hazardous Environments and Special Locations (F5HF 12) 1 credit

In this Unit you will learn about the factors which define a ‘hazardous environment’ and a ‘special location’, to identify the ‘Codes of Practice’ and ‘Regulations’ relating to these situations and the measures required to reduce the risks to personnel and property when operating electrical equipment and installations in such environments.

You will:

- identify and describe hazardous environments and special locations associated with electrical installations

- describe protection measures used

- outline the main requirements of BS7671, BSEN60079-14 and ATEX Directive 94/9/EC

As you are doing this Unit you will be developing aspects of the Core Skills in Communication and Problem Solving.

### Electrical Plant Maintenance (F5HG 12) 1 credit

In this Unit you will learn about electrical plant safety, maintenance requirements and precautions that should be taken when carrying out electrical plant maintenance. In addition, you will develop the skills that are needed for undertaking safe maintenance procedures on electrical equipment and completing the appropriate maintenance documentation.

You will:

- identify the regulations and explain the safety procedures and systems of work used in electrical plant maintenance, including permit to work and the safe isolation procedures

- perform a risk assessment on an item of electrical equipment to be maintained

- explain the benefits, limitations and relative costs associated with the following electrical plant maintenance methods: corrective, planned preventative, reliability-centred and condition-based

- perform routine maintenance on an electrical plant system, following the safe isolation procedure and completing the permit to work documentation

As you are doing this Unit you will be developing aspects of the Core Skills in Communication and Problem Solving.

### Electrical Power Systems (F5HJ 12) 1 credit

In this Unit you will learn how electrical energy is generated from non-renewable and renewable energy sources. You will learn about distribution feeder arrangements and the procedures required for working on high voltage equipment.

You will:

- conduct an investigation into the use of non-renewable and renewable sources of energy

- analyse and evaluate up-to-date information on sources and applications of non-renewable and renewable power generation

- interpret and explain complex graphic information in charts, grid circuits and distribution feeder arrangements

As you are doing this Unit you will be developing aspects of the Core Skills in Communication, Problem Solving and Numeracy.

### Electrical Principles (F5HL 12) 1 credit

In this Unit, you will learn about electrical principles and basic electrical concepts, magnetic and electromagnetic theory. You will then be able to solve electrical quantities in direct current (dc) resistive networks and determine electromagnetic quantities.

You will:

- make calculations to solve problems in dc resistive networks

- determine electromagnetic quantities as well as verifying sinusoidal waveforms

- prepare and present information in a graphical format

As you are doing this Unit you will be developing aspects of the Core Skills in Problem Solving, Numeracy and Communication.

### Electrical Testing and Measurement (F5HN 12) 1 credit

In this Unit, you will develop skills needed for using electrical test equipment to make correct and safe measurements in electrical circuits and installations. In addition, you will learn about the principles of operation of a moving coil instrument, electrodynamic wattmeter and kWhr meter.

You will:

- research and evaluate technical literature and other complex information, including health and safety requirements

- produce and present written reports to identify industry standard using accepted formats, terminology and structures

- identify and analyse a complex range of factors influencing the safe use of electrical equipment considering potential sources of error that could affect results

- select appropriate equipment and work efficiently and safely to complete practical electrical testing and measurement

- perform a series of complex calculations and measurements as you carry out testing

As you are doing this Unit you will be developing aspects of the Core Skills in Communication, Problem Solving and Numeracy.

### Electrical Wiring Skills (F5HP 11) 1 credit

In this Unit you will develop skills needed to install and terminate Poly Vinyl Chloride (PVC) sheathed cables, mount electrical accessories, and wire up simple electrical installations in accordance with the latest version of the BS7671 Wiring Regulations.

You will:

- use appropriate tools and accessories to install simple electrical installations

- terminate PVC sheathed cables in electrical installation work

- use measurement and mark the location of accessories before installing, inspecting and testing simple electrical wiring systems in a safe manner

- take, record and interpret test results

As you are doing this Unit you will be developing aspects of the Core Skills in Problem Solving and Numeracy.

### Electronic Network Analysis (F5J7 12) 1 credit

In this Unit you will apply circuit analysis techniques to solve circuit values using Kirchhoff’s voltage and current laws, Thevenin’s and Norton’s theorems and mesh analysis.

You will calculate circuit voltages and circuit and branch currents and the maximum power that can be transferred from a source to a load.

As you are doing this Unit you will be developing aspects of the Core Skills in Numeracy and Problem Solving.

### Electronic Test Equipment and Measurement (F5DJ 12) 1 credit

In this Unit you will develop skills needed to carry out measurements and tests on both analogue and digital electronic circuits and verify the correct circuit operation, and the operating frequency of electronic circuits and waveforms displayed on the oscilloscope. The testing of digital circuits includes both combinational and sequential logic devices.

You will:

- research and evaluate technical literature and other complex information, including health and safety requirements

- produce and present written reports to industry standard using accepted formats, terminology and structures

- identify and analyse a complex range of factors influencing the safe use of electrical equipment considering potential sources of error that could affect results

- select appropriate equipment and work efficiently and safely to complete practical electrical testing and measurement

- perform a series of complex calculations and measurements as you carry out testing

- consider regulations and safety factors before selecting methods and techniques suited to a series of practical tasks

- perform measurements and tests safely and accurately to the given specification, recording and explaining results

As you are doing this Unit you will be developing aspects of the Core Skills in Communication, Problem Solving and Numeracy.

### Electrostatics and Electromagnetics (F5D3 12) 1 credit

In this Unit you will learn about the concepts and principles involved with electrostatic and electromagnetic fields. In addition, you will develop the skills needed to solve problems involving parallel plate capacitors, capacitors in series and parallel, series magnetic circuits, self and mutual inductance, and coupling of coils.

You will:

- sketch basic electrical circuits then calculate electrical quantities associated with electrostatics and electromagnetics, from these circuits, using standard formulae

- demonstrate an understanding of the fundamental laws of electrostatics and electromagnetics

As you are doing this Unit you will be developing aspects of the Core Skills in Numeracy.

### Engineering: Applying Information Technology (F5D4 12) 1 credit

In this Unit you will learn about the features of an operating system and available software application packages that are relevant to the engineering environment.

You will:

- use a range of ICT to carry out searches to extract and present relevant information

- make selective use of ICT

- evaluate your choice and report on a number of aspects of the assessment

This Unit has the Core Skill of Information and Communication Technology embedded in it, so when you achieve this Unit your Core Skills profile will be updated to show that you have achieved Information and Communication Technology at SCQF level 6.

### Engineering Project (F5D5 12) 1 credit

In this Unit you will develop the skills to manufacture and test a product from a given project brief.

You will need to create a project plan which includes: a range of factors relevant to defined objectives with a strategy for project management. The plan must identify the project aims and objectives and include an appropriate project time-activity chart, resources before deliverables are completed in accordance with safety requirements, and test procedures to verify theory or principles, and the effectiveness of process and product should monitored and evaluated.

- While undertaking the project you will:

- carry out measurements and calculations which are accurately recorded; data will be interpreted, applied and communicated using graphics and number

- analyse a task and its component elements

- on completion, you will evaluate project activities in terms of the agreed project objectives and enhancements in your own personal development as a result of undertaking the project.

This Unit has the Problem Solving component of Planning and Organising embedded in it, so when you achieve this Unit your Core Skills profile will be updated to show you have achieved Planning and Organising at SCQF level 5.

### Fault Finding on Low Voltage Electrical Systems and Equipment (F5DF 12) 1 credit

In this Unit you will develop skills in using wiring diagrams, block diagrams and other documents along with diagnostic test instruments, on faulty electrical systems and equipment. You will learn to interpret test results to identify and locate faults.

You will:

- explain types of faults that can occur on electrical systems and equipment

- explain use of test equipment and diagrams/charts to help you find faults

- extract information from documents and select apparatus to carry out fault finding tests on: a ring main circuit, a lighting circuit and an electric motor circuit

- produce a report (either written or recorded orally) summarising your findings

As you are doing this Unit you will be developing aspects of the Core Skills in Communication, Problem Solving and Numeracy.

### Fundamental Electrical Systems (F5D8 12) 1 credit

In this Unit you will learn about the operating principles and constructional features of High Voltage (HV) generators and the component parts of an electrical transmission system, ring and radial distribution systems, and the basic control and protection requirements of these systems. You’ll also learn about methods of isolation, control, protection and earthing of Low Voltage (LV) electrical installations.

You will need to access, analyse, summarise and evaluate a range of complex data for background information on electrical systems, principles and installations.

As you do this Unit you will be developing aspects of the Core Skills in Communication, Numeracy and Problem Solving.

### Fundamental Electronics (F5DB 12) 1 credit

In this Unit you will learn about the principal devices used in electronics, how they work and how they are used. You will develop skills in circuit construction, assembly and test techniques.

You will:

- identify the devices, their function and application, and the properties of the materials they are made from

- carry out measurements and tests in electronic circuits

- identify and connect a power source before selecting and connecting appropriate test equipment

- choose correct methods and techniques to test the functionality of the constructed circuit

- adhere to safety requirements throughout

As you are doing this Unit you will be developing aspects of the Core Skills in Communication, Numeracy and Problem Solving.

### Illumination and Emergency Lighting (F5FR 12) 1 credit

In this Unit you will learn about discharge luminaire in terms of their construction and operation.

You will:

- calculate the illumination requirements of a simple lighting scheme and select the type and quantity of luminaries required for the scheme

- investigate lighting requirements and consider all relevant factors including room dimensions, working surface needs and maintenance before determining the type and quantity of luminaries required to take account of the environment

- design simple illumination and emergency lighting schemes

As you are doing this Unit you will be developing aspects of the Core Skills in Numeracy and Problem Solving.

### Inspection and Testing of Electrical Installations (F5FT 12) 1 credit

In this Unit you will develop skills needed to test electrical systems to ensure they are fit for purpose and comply with the appropriate regulations.

You will:

- access and evaluate complex technical literature and current information, including health and safety requirements

- interpret complex technical information, including BS7671 requirements, and translate it into practical inspection and testing exercises based on a low voltage electrical installation

As you are doing this Unit you will be developing aspects of the Core Skills in Communication and Problem Solving.

### Installation of AC Induction Motors (F5DA 12) 1 credit

In this Unit you will develop skills in wiring, connecting, testing, mounting, aligning and coupling ac induction motors. In addition, you will develop the skills to interpret the relevant requirements of the Wiring Regulations BS7671 for the installation and control of ac motors.

You will:

- identify requirements, tools and techniques to be used, and plan the practical work

- identify and adhere to regulations and safety requirements as you complete all stages in wiring, connecting, testing, mounting, aligning and coupling to meet current industry standards

As you are doing this Unit you will be developing aspects of the Core Skills in Communication and Problem Solving.

### Installation of Cable Tray and MI Systems (F5FW 12) 1 credit

In this Unit you will learn about cable tray systems as a means of providing a route for electrical wiring. You will develop skills in the fabrication, assembly and installation of Mineral Insulated (MI) cables.

You will:

- measure and cut cable trays and MI cable for 45 and 90 degree bends, correctly install the cable tray sections, and correctly terminate an end of MI cable

- translate an installation specification into practical wiring systems for lighting circuits, and then assemble and fix in the required position

- consider a range of issues, including BS7671 regulations, to select appropriate tools and techniques

- analyse and evaluate the decisions you made during the practical work

As you are doing this Unit you will be developing aspects of the Core Skills in Numeracy, Problem Solving and Communication.

### Installation of Conduit Systems (F5FY 12) 1 credit

In this Unit you will develop skills in the fabrication, assembly and installation of conduit systems and to develop also their fabrication and assembly skills.

You will:

- interpret and translate installation specifications into practical wiring systems, one for non-metallic conduit and one for steel conduit

- for each, assemble fabricated sections, install, and terminate the wiring for the given lighting circuit

- adhere to safety regulations and requirements

- plan, organise and complete the work efficiently

- perform a series of complex calculations and measurements

- assemble and install to given specification requirements and dimensions

- evaluate your installation by carrying out appropriate tests

- interpret and produce relevant wiring diagrams

As you are doing this Unit you will be developing aspects of the Core Skills in Communication, Problem Solving and Numeracy.

### Installation of PVC Sheathed Wiring Systems (F5HX 12) 1 credit

In this Unit you will develop skills and techniques of wiring circuits using multi-core PVC sheathed cables and circuit inspection and testing procedures.

You will:

- plan, organise and complete installations, for two lighting circuits and a ring circuit, efficiently using appropriate tools and techniques

- interpret circuit and wiring diagrams to wire circuits using multi-core PVC sheathed cables

- review and evaluate by inspection and testing

As you are doing this Unit you will be developing aspects of the Core Skills in Problem Solving and Numeracy.

### Installation of Trunking Systems (F5J0 12) 1 credit

In this Unit you will develop skills and techniques in fabrication and installation of trunking systems and circuit inspection and testing procedures.

You will:

- translate information to demonstrate the assembly and installation of trunking systems, both metallic and non-metallic, and the installation of wiring for lighting circuits

- consider the limitations and benefits of various techniques and approaches during basic circuit inspection and testing procedures

- plan your work, and organise and complete it efficiently

- interpret and produce wiring diagrams

- perform a series of complex calculations and measurements

- adhere to safety regulations and requirements

As you are doing this Unit you will be developing aspects of the Core Skills in Communication, Problem Solving and Numeracy.

### Low Voltage Distribution Systems (F5J1 12) 1 credit

In this Unit you will learn about Low Voltage (LV) distribution supply systems, industrial LV distribution systems and domestic LV distribution systems. You will learn about the layout of High Voltage (HV) to Low Voltage (LV) electrical substations, design factors for LV distribution supply systems, supply regulations and LV distribution feeder arrangements.

You will:

- interpret regulations and information relating to electrical distribution systems

- produce a layout diagram showing the component parts of electrical systems in a clear and logical manner

- explain key aspects of LV distribution systems

As you are doing this Unit you will be developing aspects of the Core Skills in Communication, Numeracy and Problem Solving.

### Mathematics: Technician 1 (F3HX 12) 1 credit

In this Unit you will develop skills in numeracy, graphical communication, trigonometry and algebra to solve practical problems.

You will:

- carry out a variety of calculations

- analyse data

- select appropriate graphic and numerical forms of communicating data

This Unit has the Core Skill of Numeracy embedded in it, so when you achieve this Unit your Core Skills profile will be updated to show that you have achieved Numeracy at SCQF level 6.

### Mathematics: Technician 2 (F3HY 12) 1 credit

In this Unit you will develop skills in numeracy, algebra and calculus so that you will be able to use these skills to solve practical problems.

You will:

- carry out a variety of calculations

- analyse data

- select appropriate graphic and numerical forms of communicating data

This Unit has the Core Skill component of Using Number embedded in it, which means when you complete this Unit you will also be awarded the Core Skill component at SCQF level 6.

### Power electronics (F5JH 12) 1 credit

In this Unit you will learn about the devices used in the control of electrical power flow, and to demonstrate typical applications of these devices.

You will:

- read materials on aspects of power electronics from paper based and electronic sources

- represent and analyse suitable power electronic circuits in diagram format

- demonstrate the operation of such devices using appropriate test and measurement equipment in a safe manner

- design, construct and test suitable operational amplifier circuits

- represent operational amplifiers in suitable diagram format

As you are doing this Unit you will be developing aspects of the Core Skills in Communication, Problem Solving and Numeracy.

### Safe Working Practices (F5JL 11) 1 credit

In this Unit you will learn about hazards in the workplace, including those specific to the electrical and electronic industries, and the methods of minimising their risk to personnel.

You will:

- undertake an effective risk assessment in terms of ‘hazard’ and ‘risk’, implementing the ‘five-step’ risk assessment procedure

- demonstrate techniques used in controlling risks in manual operations and the control measures for minimising the risks due to toxic fumes in the workplace

- identify the sources of toxic fume generation in the workplace and outline the main requirements of the ‘Control of Substances Hazardous to Health’ (COSHH) regulations regarding toxic fume, giving the control measures for minimising the risks of toxic fumes in the workplace

As you are doing this Unit you will be developing aspects of the Core Skills in Problem Solving and Communication.

### Single and Three Phase Induction Motors (F5JT 12) 1 credit

In this Unit you will learn about universal motors, single and three phase induction motors, and three phase induction motor starting methods.

You will:

- access and evaluate a range of complex technical information

- investigate performance characteristics of motors and match motor characteristics to their applications

- analyse constructional features and principles of operation, taking account of factors affecting safety and efficient working practice

- carry out calculations to determine slip

As you are doing this Unit you will be developing aspects of the Core Skills in Communication, Numeracy and Problem Solving.

### Single Phase and Three Phase Principles (F5JV 12) 1 credit

In this Unit you will develop skills needed to construct phasor diagrams and power triangles.

You will:

- carry out and represent a series of complex calculations and measurements for single phase and three phase circuits

- explain the effects and principles relating to circuits

- calculate power values for a three phase circuit

- present data in phasor diagram format in single and three phase work

As you are doing this Unit you will be developing aspects of the Core Skills in Numeracy, Problem Solving and Communication.

### Switchgear and High Voltage Protection (F5JX 12) 1 credit

In this Unit you will learn about the constructional features, operation and applications of high voltage switchgear, types of HV protection systems, types of fault and the factors that determine system fault levels, and the operational characteristics and application of protective devices.

You will:

- extract information from paper based and electronic sources of technical information

- explain, describe or state key features of apparatus used in HV systems

As you are doing this Unit you will be developing aspects of the Core Skill in Communication.

### Transformation and Rectification (F5JY 11) 1 credit

In this Unit you will learn about the principles of operation of transformers and also of simple power supply circuits.

You will:

- investigate a step down and step up transformer

- sketch the input and output waveforms labelling amplitude and phase, and comparing these measured valves with those predicted from knowledge of the turns ratio of the transformer

- investigate half-wave, full-wave bridge and full-wave bi-phase

- select the correct circuit for each investigation from a variety available

- sketch the input and output waveforms, paying particular attention to amplitude and frequency, and to correctly interpret these waveforms.

As you are doing this Unit, you will be developing aspects of the Core Skills in Communication, Numeracy and Problem Solving.

### Transformers (F5K0 12) 1 credit

In this Unit you will learn about the construction and principle of operation of single and three-phase power transformers, current transformers, voltage transformers and auto transformers. In addition, you will develop skills needed to solve transformer problems using simple mathematical representations, the main methods of cooling transformers and the main transformer protection requirements.

You will:

- interpret and apply complex numerical and graphic information to solve problems using transformer mathematical models

- interpret transformer mathematical representations

- explain or state key transformer criteria

- complete an investigative research which involves analysing and evaluating complex paper based and electronic sources of technical information

- produce a technical report that is accurate, formally structured and clearly expressed

As you are doing this Unit you will be developing aspects of the Core Skills in Numeracy, Problem Solving and Communication.